## Slide 1
คณะเภสัชศาสตร์
5402
Automate liquid handling Beckman coulter, Biomek NX M00302-(1-5)/54

## Slide 2
คณะเภสัชศาสตร์
5403
Refrigerated Centrifuge Beckman/ Allergra x15R M-00210-2/53
Centrifuge Beckman/ Allergra X12 M-00211-2/53
Refrigerated Centrifuge Tomy/ Kitman T24 M-00391-3/55
Spectrophotometer Thermo Scien/ Evolution 300 M-00285-(6-10)/54
PCR
Techne/ TC512 M-00304-1/53
Image Quant GE/ LAS4000 mini M-00214-(1-3)/53
Real-time PCR Roche/ LC480II M-00356-(1-10)/53
Microplate reader Molecular device, Spectramax L M-00239-(1-5)/53
Eliza reader TECAN/Sunrise M-00238-(1-7)/53
Microwave
Sharp/R219 M-00313-13/54
Shaker Boekel bambino, RockerII M-00248-3/53
Hybridize incubator Boekel bambino M-00362-3/53
Vertex mixer
Genei2 M-00283-8/56
Heat box Benchmark M-00283-4/56

## Slide 3
คณะเภสัชศาสตร์
5404
Fume hood อ.M-01021-1/53
Incubator, Memmert/INE 600 M00331-1/53
ฝักบัว M00897-1/53
Hot air oven Memmert, UFE 700 M00361-1/53
Autoclave Tomy/ SX700 M00390-1/55
Hot air oven Memmert, UFE 500 M00360-4/53
Shaking incubator Bioactive M00382-2/53
Sonicator Elma, S70h M00412-2/55
Ice maker M00131-1/53

## Slide 4
คณะเภสัชศาสตร์
5405
Image scanner GE, Typhoon Trio M00440-1,(5-7)/54
LC-MS/MS Bruker, Amazon speed ETD M00586-(1-5)/55
LC-MS/MS Bruker, MicroTOF-QII M00602-(1-11)/55
Spot picker GE M00440-2/54
Image scannerGE, Image scanner III M00426-5/56
IEF IPGphore3 M00440-3/53
Electrophoresis GE, DALSix M00304-1/53
Sonicator Bandelin M00172-1/55
Cooling bath MultiTemp IV M00426-4/56
Electrophoresis MiniVE M00304-1/53
Power supply EPS 601 M00426-3/56
IEF IPGphore3 M00426-1/56
Notebook Dell, Inspiron 3421 M00426-7/56
Computer server Dell M00426-8/56

## Slide 5
คณะเภสัชศาสตร์
5407
In Cell Analyzer GE, In cell analyzer 2000 M00441-(1-7)/54
4 digit balance Sartorius M00396-3/53
Hot plate M00360-17/53
Water bath Memmert, WNB7 M-00286-6/54
2 digit balance Sartorius M00396-15/53
CO2 incubator Shellab M-00616-1.4/49
Microscope Olympus, CKX41 M-00370-(4-7)/53
Centrifuge Universal 320K M-00370-3/53
Bio safety cabinet ESCO/AC2-4E1 M00616-1.2/49
CO2 incubator Sanyo, MCO-18M M00425-1/53
Bio safety cabinet ESCO M00425-3/53

## Slide 6
คณะเภสัชศาสตร์
5408
Fume hood M
Microwave Electrolux, ไม่ออกเลข
Water bath Labnet, ไม่ออกเลข
Centrifuge BECKMAN, M22R M00226-1/53
Balance, 2digit Sartorius, M00398-1/53
PH meter BECKMAN COULTER, M-00210-8/53
Micromixer FinePCR, MX2 M-00324-1/56
Stirrier Labnet ไม่ออกเลข
Vortex mixer M-00283-7/56

## Slide 7
คณะเภสัชศาสตร์
5413
Deep freezer -150
Thermo Science M00522-1/55
Freezer -20 Sanyo, M00359-8/53

## Slide 8
คณะเภสัชศาสตร์
5415
Freezer -80 Thermo Science, Forma 900series M-00523-5/55
Freezer -80 Thermo Science, Forma 900series M00359-3/53
Freezer -80 Thermo science, Forma 900series M-00523-1/55
Chiller 4 M-00359-10/53
Chiller 4 C with rocker (Heildolph) Thermo Science, M00521-1/55